PNAC PAKISTAN NATIONAL ACCREDITATION COUNCIL Applicants Guide For Proficiency Testing Providers (PTPs)

Contents

| 1. Introduction………………………………………………………………………… | 3 |
| --- | --- |
| 2. Application for Accreditation……………………………………………………… | 3 |
| 3. Introduction to the Assessment Process …………………………………………… | 4 |
| 4. Assessment Team…….……………………………………………………………. | 5 |
| 5. Pre-Assessment………….…………………………………………………………. | 5 |
| 6. The Scope of Accreditation ……………………………………………………….. | 6 |
| 7. Summary of the Full Assessment procedure…………………………………….. | 7 |
| 8. Opening meeting…………………………………………………………………… | 8 |
| 9. Observation of Proficiency Testing Provider at Work ………………………… | 9 |
| 10. Summary of Findings………………………………………………………………. | 10 |
| 11. Closing Meeting……………………………………………………………………. | 11 |
| 12. Post-Assessment…………………………………………………………………… | 12 |
| 13. Surveillance and Re-assessment…………………………………………………. | 12 |
| 14. Extensions to Accredited Scope……………………………………………………. | 14 |

1.	INTRODUCTION

1.1	The following notes will help Proficiency Testing Providers (PTPs) seeking accreditation for their proficiency testing scheme (s) to understand the steps involved in PNAC's assessment process.

1.2	Before applying formally to PNAC, the applicant Proficiency Testing Provider shall be accredited for ISO/IEC 17025 (testing & calibration labs) or ISO 15189 (medical lab), which may applicable.

2.		APPLICATION FOR ACCREDITATION

2.1.	A preliminary meeting at the PNAC office is recommended for the purposes of clarifying initial questions. Applicants will be supplied with an information pack containing the following:-

	Application Form

	Current fee structure

	This applicants' guide for Proficiency Testing Providers

		Agreement between PNAC and an accredited Proficiency Testing Provider

2.2	The application form is to be completed and signed by the applicant, and returned together with the following documents for review by PNAC:-

- Application fee

- Application form

- Proficiency Testing Provider's Quality Manual

- Standard Operating Procedures

- Technical Procedures

- Agreement between PNAC and an accredited Proficiency Testing Provider

3.	INTRODUCTION TO THE ASSESSMENT PROCESS

3.1	This publication provides background information on the PNAC Proficiency Testing Provider Accreditation activities. All Proficiency Testing Providers seeking accreditation are assessed for compliance with ISO/IEC 17043, PNAC regulations, APLAC requirements, ILAC requirements and any further requirements specified by PNAC from time to time. Accreditation is achieved by formal assessments, and this publication provides general guidance on the conduct of such assessments. It summarizes the administrative procedures followed by PNAC leading up to an assessment, and describes in detail the various stages involved in an assessment visit.

3.2	Assessment plays the central part in providing the evidence on which offers of accreditation are made. PNAC assesses the competence of Proficiency Testing Providers to carryout the proficiency testing scheme (s) and, after accreditation, monitors, by surveillance and re-assessment, the continuing maintenance of that competence.

3.3		Each applicant Proficiency Testing Provider provides PNAC with a copy of its Quality Manual and procedures, in the Application Form, basic information on its activities, equipment, facilities and staff.

3.4.		PNAC assessors then visit the Proficiency Testing Provider to check that the Proficiency Testing Provider's quality system, as detailed in its quality documentation, is compliant with ISO/IEC 17043, is appropriate to its needs and is being followed by the staff.

3.5		During such an assessment visit, the work of the Proficiency Testing Provider is observed and records examined to establish the competence of the Proficiency Testing Provider to operate the proficiency testing scheme (s) for which accreditation is sought.

3.6		All information obtained before, during or after assessment, including the fact that a particular Proficiency Testing Provider has applied for accreditation, or that an application for accreditation has been deferred or rejected, is treated as strictly confidential by the PNAC and its assessors.

4.		ASSESSMENT TEAM

4.1		On receipt of the Application Form, the Proficiency Testing Provider Quality Manual, procedures and the Applicant Fee, the case is referred to concerned Program Manager of PNAC.

4.2		The concerned Program Manager of Proficiency Testing Provider Accreditation is responsible for selecting the assessment team. Proficiency Testing Providers have the right to object to the appointment of a particular Assessor or Technical Expert and, in such cases, PNAC endeavor to offer an alternative. In the event that a suitable alternative cannot be identified, or the grounds for objection are considered to be unreasonable, PNAC reserves the right to use the assessor originally selected.

4.3		The concerned Program Manager of Proficiency Testing Provider Accreditation sends the Application Form, Quality Manual and any procedures supplied to other  Assessors (if necessary) for a detailed review of the documentation.

4.4		Following the detailed document review, the Proficiency Testing Provider is advised of the composition of the assessment team and the assessment fee that it must agree to pay before the assessment takes place. An estimate of the likely annual fee after accreditation is also provided.

5.  			PRE-ASSESSMENT

5.1			Provided the detailed documentation review is satisfactory, a pre-assessment visit is carried out. This visit for which a fee is payable, is usually carried out by the Lead Assessor alone.

5.2		The pre-assessment visit allows the Lead Assessor to discuss with the Proficiency Testing Provider management any areas of the Proficiency Testing Provider's quality system, quality manual and operating procedures that appear not to be in compliance with PNAC requirements. It also provides an opportunity for the Lead Assessor to discuss technical requirements such as statistical techniques. The Proficiency Testing Provider may then carry out any corrective actions needed before the final accreditation assessment takes place.

6.		THE SCOPE OF ACCREDITATION

6.1		It is PNAC policy to define the scope of a Proficiency Testing Provider's accreditation as precisely as possible. This ensures that clients are provided with an accurate and unambiguous description of the proficiency testing scheme (s). Proficiency Testing Providers are therefore asked to specify, in detail, the proficiency testing scheme for which accreditation is sought.

6.2		The concerned program manager of the applicant Proficiency Testing Provider together with the Lead Assessor (if different) will agree with the Proficiency Testing Provider how the proficiency testing scheme (s) for which accreditation is sought will be defined on the scope that will be issued if accreditation is to be offered.

6.3		Every effort will have been made to reach agreement on the content of the scope before the assessment. This is important, not only in order to avoid possible misunderstandings, but also to help the assessors to operate effectively, concentrating their attention in those areas of activity appropriate to the scope of accreditation. In some cases, as the assessment proceeds, it may become clear that the Proficiency Testing Provider is not really in a position to achieve accreditation in certain areas within the originally agreed scope. In such cases the Lead Assessor may be able to suggest a suitably reduced or redefined scope for which accreditation may be offered

7.  		SUMMARY OF THE FULL ASSESSMENT PROCEDURE

7.1		Following the detailed documentation review and pre-assessment and on the completion of any corrective measure/compliance required as a result of pre-assessment, arrangements can be made for final assessment.

7.2.		The assessment visit begins with an opening meeting between the assessment team and representatives of the Proficiency Testing Provider. On some occasions the team makes a brief tour of the facilities. This is followed by a discussion on the Proficiency Testing Provider's quality system documentation, including any documented in-house procedures, and then by detailed observation of the Proficiency Testing Provider at work, to determine whether or not it meets the criteria. Each assessor will be accompanied by a member of the Proficiency Testing Provider staff nominated by the management and having responsibility for the particular section of work being assessed. A particular assessor may, therefore, be accompanied by several different members of staff in the course of his or her work.

7.3		The visit ends with a closing meeting between the assessors and the Proficiency Testing Provider representatives; at which each assessor presents his or her observations and the Lead Assessor summarizes the findings of the team.

8.		THE OPENING MEETING

8.1	This is held on arrival to enable the assessment team and the Proficiency Testing Provider's representatives to become acquainted, and to clear up any difficulties or confusion about the purpose of the assessment and what is expected of the Proficiency Testing Provider during the visit. It is chaired by the Lead Assessor and should cover.

(a)	Introductions;

- an explanation of the purpose of the assessment and the functions of each assessor;

- discussion of the scheme (s) covered by the Proficiency Testing Provider's application and how this should be defined in the Proficiency Testing Provider's scope of accreditation;

- a review of the agreed assessment programme, and confirmation that a representative of the Proficiency Testing Provider has been assigned to accompany each assessor;

- an explanation of the role of tile Proficiency Testing Provider's representatives in the assessment, particularly in agreeing observations recorded on the detail report forms concerning any apparent failures to comply with  requirements.

- an explanation of what will happen at the closing meeting and confirmation of the time and venue;

- an assurance that all findings will be treated in strict confidence;

- arrangements for providing an office, and any services needed by the assessors, e.g. photocopying; computer, fax, phone etc;

- confirmation of work hours, lunch breaks etc;

- an opportunity for the Proficiency Testing Provider representatives to ask relevant questions.

9.		OBSERVATION OF THE PROFICIENCY TESTING PROVIDER AT WORK

9.1		This, the most important part of the assessment, follows the Opening Meeting and consists of the assessment team making on-the-spot observations of the Proficiency Testing Provider going about its normal business. Assessors need to form a general impression of the Proficiency Testing Provider's overall competence and, in particular, of the suitability of the methods and equipment for the work in hand including the state of its maintenance and calibration. They also need to assess the competence of the staff and the effectiveness of the quality system in ensuring that errors or omissions do not appear in recording, analysing and reporting results.

9.2		The objective of assessment is to establish, by observation, whether the work of the Proficiency Testing Provider is being carried out in accordance with ISO/IEC 17043 and PNAC conditions. Any observations made will be recorded and verified and will be based on objective evidence. To secure the greatest possible measure of agreement on the facts, assessors are provided with forms for making an agreed record of any observation, which may indicate a failure to comply with the requirements. These forms provide the objective evidence on which the Lead Assessor's recommendations to PNAC will be based.

9.3	Reports are intended to contain only factual observations relating to possib1e nonconformities with specific requirements of ISO/IEC 17043 and PNAC regulations. It is the responsibility of the Lead Assessor, aided by advice from the assessment team, to allocate formal nonconformities and to categorize them appropriately before completing a Summary Report. There will not, therefore, normally be any attempt to designate nonconformities at the time of observation, nor any attempt to indicate the classification of the nonconformities that may be assigned.

10.			SUMMARY OF FINDINGS

10.1		After the assessors have completed their individual assignments, they will hold a private meeting at which they will summaries their individual findings on copies of the Individual Assessor's Report form and contribute to a co-ordinates view of the Proficiency Testing Provider at work. At this stage, the Lead Assessor will complete a Summary Report form taking into account his or her own findings and those of any other assessors involved.

10.2		The Summary Report will record the assessors' findings, any matters needing corrective action, and the Lead Assessor's recommendation to PNAC Recommendations may be for unconditional acceptance, for acceptance to be deferred until the nonconformities have been cleared, or for refusal. The Summary Report will make it clear which of these is being made. PNAC Accreditation will be granted only after PNAC has received evidence that all nonconformities have been closed. The maximum period allowed for corrective action will be specified. The period allowed will not, except in very unusual circumstances, be more than three months. Normally a period of three month (full assessment) and six week (surveillance and reassessment) would be regarded as reasonable for minor nonconformities.

10.3		Where the number or the seriousness of the nonconformities found is such that the whole of the Proficiency Testing Provider's quality system and organisation is demonstrably inadequate, the Lead Assessor's recommendation will be that accreditation is refused

11. 		THE CLOSING MEETING

11.1		The purpose of the closing meeting is to enable the Lead Assessor to present the Proficiency Testing Provider management with a summary of the results of the assessment and to inform the management of the recommendations that the Lead Assessor will make to PNAC.

11.2		The closing meeting is chaired by the Lead Assessor who will:

- emphasise that, because the assessment did not cover every aspect of the Proficiency Testing Provider activities, it does not follow that none exist in areas where none have been reported;

- explain the significance of the classification nonconformities.

- invite each assessor to summaries his or her findings;

- present his or her own findings as an individual assessor;

- present the summary, conclusions and recommendations,

- hand over the copies of assessment reports and non-conformity reports for assessment visit (if any) for management to take appropriate corrective actions;

- invite the Proficiency Testing Provider to specify date by which any required corrective actions will be implemented;

- provide the Proficiency Testing Provider with an opportunity to discuss the assessment;

- obtain the signature of the Quality Management Representative or authorized deputy on the assessment reports and non-conformity reports for assessment visit (if any).

12.		POST ASSESSMENT

12.1		On receipt of evidence of satisfactory corrective action, or following a further visit to check the implementation of corrective actions, concerned Program Manager submits the case before PNAC’s reviewer. After positive recommendations of reviewer the case is submitted to Director General PNAC for approval. On approval PNAC will offer accreditation for the agreed scope of proficiency testing scheme. As soon as the Proficiency Testing Provider agrees the terms of accreditation and pays the license fee, PNAC will formally grant accreditation and issue the Accreditation Certificate and scope.

12.2		When a further visit has been required, the Assessor(s) will return to look specifically at the clearance of the nonconformities. However, should some other potential nonconformity observed, the Assessor will bring this to the attention of the management.

12.3		If the reviewer or Director General PNAC does not accept the recommendations of Assessment Team then the Proficiency Testing Provider will be required to take further corrective actions in the highlighted areas.

13.		SURVEILLANCE AND RE-ASSESSMENT

13.1		Following accreditation, Proficiency Testing Providers will be subject to surveillance and reassessment visits. The purpose of periodic surveillance and re-assessment is to determine whether or not a Proficiency Testing Provider is continuing to comply with the ISO/IEC 17043, PNAC Regulations, and any other requirements specified by PNAC. The general approach described in the previous paragraphs will be followed for the conduct of surveillance or re-assessment visits.

13.2		If it is found, during a surveillance or re-assessment visit that, since the last visit, there have been significant changes of staff, equipment or range of services available, these matters will be recorded. Assessors will check that the changes are not such as to diminish the Proficiency Testing Provider's capabilities or scope of accreditation and that they have already been fully notified to PNAC.

13.3		A re-assessment visit will involve a comprehensive re-examination of the Proficiency Testing Provider's activities and will be similar in format and detail to an initial assessment. The first surveillance visit may be carried out six months after the date of accreditation. Subsequent surveillance visits are carried out at yearly intervals.

13.4		A full re-assessment takes place three years after the date of accreditation.

13.5		At the conclusion of a surveillance or re-assessment visit, the Lead Assessor will make a recommendation to PNAC on the continuing accreditation of the Proficiency Testing Provider. Depending on the number and type of any non-conformity found the Lead Assessor will recommend whether accreditation should be:

- maintained unconditionally (this recommendation will only be made when no nonconformities have been found);

- maintained on the understanding that any non-conformities found are cleared within a specified time period (usually one month);

- maintained, but for a reduced Scope of Accreditation;

- suspended until the Proficiency Testing Provider has discharged the nonconformities within a specified time period (normally no  more than three months). A recommendation that the accreditation of a Proficiency Testing Provider is suspended will almost certainly require a further visit to confirm that the nonconformities have been cleared.

- terminated (a recommendation that accreditation be terminated will involve the Proficiency Testing Provider in having to make a new application and undergoing a further full assessment if it wishes to have its accreditation re-instated).

13.6		Suspension or termination of accreditation will only be recommended if the whole of the Proficiency Testing Provider's quality system and organisation is seriously out of compliance with requirements.

14.		EXTENSIONS TO ACCREDITED SCOPE

Accredited Proficiency Testing Providers may wish to add further scheme (s) to extend the scope of their accreditation. Extensions to scope require a formal application using the form provided by PNAC, and will be dealt with on a case to case basis. The application will need to be accompanied by documentary evidence of competence in relation to the relevant industrial and technical activities. Small extensions to scope may be dealt with during a surveillance assessment. Significant extensions will usually require an assessment visit. PNAC will advise the organization of the steps required to gain approval for the extension.