1.  Purpose

This statement set out PNAC policy on method validation and applies to laboratory accreditation to ISO/IEC 17025.

2.   Policy

PNAC will apply the principles that Method must be ‘suitable for purpose i.e., Measures what is required, has known and adequate accuracy and precision (Uncertainty) and can be shown to be stable, i.e accuracy and precision maintained in routine use (Quality Control)

3. Definitions:

- Validation establishes the performance characteristics of a non standard method in laboratory

- Verification establishes the performance of a standard method in a laboratory

- Quality Control checks that the performance established at validation is maintained in routine operations

- Selectivity and Specificity-extent to which method measures the wanted element without interference

- Scope-Range types of samples or objects.

- Range-Quantitative range over which method is valid.

- Linearity or other Algorithm-Linear range if any.

- Sensitivity-Difference in measured value corresponding to smallest difference in response of the method.

- Limit of Detection-minimum amount distinguishable from blank. Sample dependent.

- Limit of Quantitation-lowest level of target determinable with an acceptable level of uncertainty.

- Ruggedness-Sensitivity of the method to changes in procedure, conditions, different laboratories.

- Accuracy-Closeness to ‘true’ value

- Precision-Closeness of agreement between independent determinations on same or identical samples. Leads on to UNCERTAINTY.

4.  PNAC Requirements

4.1 For non standard/ in-house method validation is needed using one or a combination of the following:

- Calibration using reference standards or reference materials

- Comparison of results achieved with other methods

- PT/ Inter-laboratory comparisons

- Full validation including Selectivity/Specificity, Scope, Sensitivity, Ruggedness, Range, Linearity, LOD/LOQ, Accuracy, Precision

4.2 For standard method outside their intended scope validation based on one or a combination of the following is needed:

- Calibration using reference standards or reference materials

- Comparison of results achieved with other methods

- PT/ Inter-laboratory comparisons

- Validation techniques including: Selectivity/Specificity, Scope, Sensitivity, Ruggedness, LOQ/LOD, Accuracy, precision

4.3 For standard method outside its range validation based on one or a combination of the following is needed:

- Calibration using reference standards or reference materials

- Comparison of results achieved with other methods

- PT/ Inter-laboratory comparisons

- Validation techniques including Range, Linearity, LOQ/LOD, Accuracy, precision

4.4 For standard method the following verification is needed before adoption:

- Repeatability

- Reproducibility