| For PNAC Use only |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

|  | #### PNAC # Pakistan National Accreditation Council 1-Constitution Avenue, Opposite Prime Minister Office, G-5/2, Islamabad, Pakistan. Tel: 051-9206044, 9209507, 9205509 Fax: 051-9209510, 051-9222312 | F-01/01 Issue Date: 01/01/2024 Rev No: 10 |
| --- | --- | --- |

Application For Laboratory Accreditation ISO/IEC 17025

| Please type or use BLOCK LETTERS |  |  |  |
| --- | --- | --- | --- |
| ### Organisation Address of laboratory |  |  |  |
|  | Postcode |  |  |
|  | Tel: |  |  |
|  | Fax: |  |  |
|  | Person to whom enquiries about this application should be directed |  |  |
|  | Name of Contact: |  |  |
|  | Designation: |  |  |
|  | Address: |  |  |
|  | Postcode |  |  |
|  | Tel: |  |  |
|  | Fax: |  |  |
|  | E-mail: |  |  |

This application is for (tick appropriate boxes) New accreditation as a calibration laboratory New accreditation as a testing laboratory Extension of scope; Permanent lab Mobile lab Renewal of Accreditation

I enclosed (tick boxes) A copy of the laboratory's Standard Operating Procedures (Quality & Technical) Participation in recognised PT scheme (F-2/31) Plan of PT participation (F-2/33) Agreement (F-01/04) Filled form (F-2/17-A) List of laboratory's staff Applicant fee-see note below

Before completing the rest of this form, please read the following notes

Notes on completing this form

This form is divided into 7 parts, which must be completed as follows: Part1- About yourselves All applicants Part 2 - About your staff All applicants Part 3 - Scope of application: Calibration applicants only Part 4 - Scope of application: Testing applicants only Part 5 – Calibration Facility All applicants (for labs performing in-house calibrations) Part 6 - Other approvals All applicants Part 7 - Declaration All applicants

| For more information from PNAC | # Tel: 051-051-9222310 051-9214065 Fax: 051-9209510 051-9222312 |
| --- | --- |
| PNAC criteria documents | You should study these documents, included in your applicant pack: - Applicants Guide for Laboratories and PNAC policies - Agreement between PNAC and an accredited laboratory - Fee schedule |
| Need more space | Give additional information on separate sheets of paper, indicating clearly the questions to which the information refers. |
| Applicant fee | Remember to enclose your applicant fee with this form. Fee is applicable in all cases such as first time application, scope extension and renewal etc. Please make cheques payable to PNAC. The application fee is non-refundable. |
| Confidentiality | All information given will be treated in the strictest confidence |

Part 1 - About yourselves	Please type or use BLOCK LETTERS

  - Name and position (Director level) of person authorising this application

| Title Name |  |
| --- | --- |
| Name |  |
| Position |  |

1.2	Name and address of parent organisation (if any) of laboratory

| Parent Organization |  |  |  |  |
| --- | --- | --- | --- | --- |
| Relationship with parent organization |  |  |  |  |
| Address |  |  |  |  |
|  | Postcode |  |  |  |
|  | Tel: |  | Fax: |  |

1.3	Address for invoicing (if different from laboratory address on page 1)

| Organisation |  |  |  |  |
| --- | --- | --- | --- | --- |
| Address |  |  |  |  |
|  | Postcode |  |  |  |
|  | Tel: |  | Fax: |  |

1.4	Information about ownership: please tick the appropriate box.

Owned by an individual Owned by public limited Company Owned by a private company/partnership Part of learned/tech institution Owned by a public body/nationalised industry Part of an academic institution Other: Please describe

1.5	Is calibration/testing the main activity of the parent company

Yes No: describe the main activities of the parent company

1.6.	For whom does the laboratory undertake calibration/testing

Own organisation Other organisations

1.7	Name of Consultant / Consultancy Firm (if any)

| Name |  |
| --- | --- |
| Organisation (if any) |  |
| Address |  |
|  | Postcode |
|  | Tel: Fax: |
|  | E-Mail |

Part 2 - About your staff 	Please type or use BLOCK LETTERS

2.1	Please list the names, technical qualifications and relevant experience of the following staff

- Technical Management (if more than three members please attach extra sheet)

| Name Qualifications Relevant Experience |  |
| --- | --- |
| Name Qualifications Relevant Experience |  |
| Name Qualifications Relevant Experience |  |

- Quality Manger

| Name Qualifications Relevant Experience |  |
| --- | --- |

Part 3 - Scope of application: Calibration

List all the measurement parameters for which you seek accreditation. Use a photocopy of this page for each field of measurement.

| Field of measurement: |  |  |  |
| --- | --- | --- | --- |
| Measured quantity | Range | *Expanded Uncertainty ( + ) | Technique, Reference Standard, Equipment |

* Expanded Uncertainty:

- Expanded Uncertainty is the measurement uncertainty at a coverage probability of 95 %, which usually requires the use of a coverage factor of k = 2. This measurement uncertainty is a value for which the laboratory has been accredited using the procedure that was the subject of assessment. In certificates issued under its accreditation scope an accredited laboratory is not permitted to quote an uncertainty that is smaller than the published uncertainty for respective ranges as given above.

Part 4 - Scope of application: Testing

4A.	As far as is possible, quote standard specifications in the third column. These may include specifications issued by companies and other organisations, both Pakistan and foreign, as well as national and international standards. Give reference numbers and dates of specifications quoted.

In the absence of standard specifications, documented in-house procedures may be quoted: cross-refer to your laboratory Management System/Procedures Manual.

(Use of photocopy of this page, if the space given is found insufficient)

| Materials/Products tested* | Types of test/ Properties measured | Range of measurement | Minimum detection limit | Uncertainty of Measurement (where applicable) ( + ) | Standard specification/ Techniques/ equipment used |
| --- | --- | --- | --- | --- | --- |

*Please also mention Active Pharmaceutical Ingredient (API) in case of Pharmaceutical Testing

4C	List the major items of equipment currently used for the types of test listed in part 3 and/or 4

(Use of photocopy of this page, if the space given is found insufficient)

| Description (include make and model) | Working Range/ capacity of equipment and other relevant information | Minimum detection limit |
| --- | --- | --- |

Part 5 – Calibration Facility (for testing laboratories performing in-house calibrations)

Please answer every question, adding comments as necessary

|  | Yes No | Reference/other comment |
| --- | --- | --- |
| 1. Does a fully documented calibration program exist to ensure that the accuracy of equipment is adequate for the service operated by the laboratory? |  |  |
| 2. Is a record maintained for test equipment, including calibration results? |  |  |
| 3. Are adequate facilities and environments provided for calibration, handling, control, storage and maintenance of all measuring equipment? |  |  |
| 4. Are there documented procedures for calibrating all equipment and reference standards which cover the method of calibration and maximum, intervals between calibrations? |  |  |
| 5. Are the internal laboratory reference standards, and the calibration of key testing equipment traceable to national standard through: - PNAC accredited |  |  |
| - Other bodies (specify)? |  |  |
| 6. Does the lab participate in Proficiency Testing for Calibration activities? |  |  |

Compliance with ISO/IEC 17025 and PNAC Accreditation Requirements

|  |  | Yes No |
| --- | --- | --- |
| 1. Do you consider that your laboratory complies with ISO/IEC 17025 and PNAC accreditation requirements? (Pl see PNAC’s website for policies). |  |  |
|  | Area of non-compliance | Rectified by (date) |
| If "No" in which specific areas does it not comply, and when do you expect non-compliance be rectified? |  |  |

Part 6 - Other approvals (certifications/ accreditations)

Please detail current accreditation/approval held by your laboratory's calibration/ testing facility

| Name & address of approval body | Scope of accreditation/approval and number of certificate (if any) | Period of accreditation/approval |  |
| --- | --- | --- | --- |
|  |  | Start | Expiry Date |

Part 7 - Declaration

This declaration should be made by the person named in Section 1.1

7.1 The laboratory applies for accreditation by PNAC for (please tick appropriate boxes) Calibration Testing An extension in scope of existing accreditation for a: Calibration laboratory Testing Laboratory 7.2. The organisation/laboratory agrees to conform, upon accreditation, with PNAC requirements as detailed in the Agreement [F-01/04]. 7.3. I enclose a cheque (payable to PNAC) for the Applicant fee of ________. I understand that this fee is non-refundable. (see Note below). 7.4. I understand the manner in which the accreditation system functions. 7.5. I declare that the information given in this form is correct to the best of my knowledge and belief Signed _____________________________ Date ________________

Note-1: PNAC will not process your application until it has received the documents and application fee. Note-2: The fee cheque/pay order shall be in favour of Pakistan National Accreditation Council, Islamabad

When completed, return this Form to: (Please mention type of Laboratory on the right corner of the envelope such as testing / calibration) ## To ## The Director General Pakistan National Accreditation Council 1-Constitution Avenue, Opposite Prime Minister Office, G-5/2, Islamabad, Pakistan. Tel: 051-9206044, 9209507, 9205509 Fax: 051-9209510 051-9222312

For PNAC use only: Application and Resource Review: Resources are available to conduct timely assessment according to PNAC policies, competence and availability of suitable assessor/experts. YES No Remarks (if any): ________________________________________________________ Reviewed By: Sign & Date